## Dominion Corrections Parcels
|  |  | Dominion Territory | County Parcels Containing Corrections Facilities | [12 empty] | Sorted
[22 empty] | MW * 8 acre | 8 acre per MW
Property Sheet Complete | GIS Snapshot in File | DGS_ID | Parcel Name | Address | City | DGS_Acre | County | Zip | ServTerr | AnnualKWH | Comment | Dom_Meter | Parcel Acres | Sites in Parcel | Facilities in Parcel | Annual Solar Insolation | Open Area Acreage | Open Area Ratio | KW Array to Meet Demand | MW Convert | Number of 250 watt solar panels | Rough Acres Needed for Array | Acreage to MW (potential Array Size for Site)
x | xx | P0001101 | DOC Southampton CC Southampton Co | 14380 Terrapin Dr | Capron | 2579.61 | Southampton County - 175 | 23829 | Dominion | 10880876 | Some forest, some farm acreage, | 3 | 2706.93 | 7 | Southampton Correctional Center, Deerfield Correctional Center, Deerfield Work center Men and Women, Southampton Mens Detention Center, Southampton County Jail Farm, Southampton Diversion Center for Women | 5.07 | 632.1 | 0.21 | 7839.7421 | 7.8397 | 31358.9682 | 62.7179 | 79.0125
x | xx | P0001170 | Hanover VPSTC Juvenile | 7093 Broad Neck Rd | Hanover | 1805.76 | Hanover County - 085 | 23069 | Dominion | 2021800 | Flat farm acreage | 1 | 1937.49 | 1 | Hanover Juvenile Correctional Center | 4.97 | 508.6139 | 0.26 | 1486.0303 | 1.486 | 5944.1213 | 11.8882 | 63.5767
x | xx | P0001099 | DOC State Farm Complex Powhatan Co | 3900 Woods Way | Powhatan | 2593.2 | Powhatan County - 145 | 23160 | Dominion | 17821791 | Flat areas along River, More open area possible, Across river from State Farm Goochland | 10 | 2741.94 | 3 | Powhattan Correctional Center, Powhatan Reception Center, Deep Meadow Correctional Center and Deep Meadow CC | 5.01 | 467.8349 | 0.17 | 12994.4976 | 12.9945 | 51977.9903 | 103.956 | 58.4794
x | xx | P0001110 | Brunswick Corrections | 1147 Planters Rd | Lawrenceville | 764.788 | Brunswick County - 025 | 23868-3345 | Dominion | 1677666 | Work Center closed | 5 | 790.59 | 3 | Brunswick Correctional Center, Brunswick Work Center, Lawerenceville Correctional Center | 5.08 | 328.7015 | 0.42 | 1206.3898 | 1.2064 | 4825.5593 | 9.6511 | 41.0877
x | xx | P0001098 | DOC State Farm Complex Goochland | 1954 State Farm Rd | State Farm | 1151.736 | Goochland County - 075 | 23160 | Dominion | 616302 | Flat areas near river, sloped areas above, across river from State Farm Powhatan |  | 1013.93 | 2 | James River Correctional Center, James River Work Center | 5.01 | 275.9892 | 0.27 | 449.3676 | 0.44937 | 1797.4703 | 3.5949 | 34.4986
x | xx | P0001157 | DOC Greensville CC Greensville Co | 901 Corrections Way | Jarratt | 1125.29 | Greensville County - 081 | 23867 | Dominion | 195057 | Open areas with sparse trees-could be more available acreage | 7 | 1121.04 | 2 | Greensville Correctional Center, Greensville Work Center | 5.05 | 205.86 | 0.18 | 141.0964 | 0.1411 | 564.3857 | 1.1288 | 25.7325
x | xx | P0001129 | DOC Buckingham CC Buckingham Co | 1349 Correctional Center Rd | Dillwyn | 968.07 | Buckingham County - 029 | 23936-0430 | Dominion | 12827793 | Varying slopes in the parcel, forested areas, grassy areas | 7 | 1017.87 | 2 | Buckingham Correction Center, Dillwyn Correctional Center | 5.01 | 131.6002 | 0.13 | 9353.1972 | 9.3532 | 37412.7887 | 74.8256 | 16.45
x | xx | P0001113 | DOC Sussex Yarden Farm Greensville Co | 10060 Huske Rd | Stony Creek | 343.2 | Sussex County - 183 | 23882 | Dominion | 171658 | Small buildings, mostly farm acreage | 2 | 365.44 | 1 | Sussex Yarden Farm | 5.04 | 111.0084 | 0.3 | 124.4169 | 0.12442 | 497.6676 | 0.99534 | 13.8761
x | xx | P0001153 | DOC Dinwiddie CU 27 Dinwiddie Co | 13510 Cox Rd | Dinwiddie | 185.043 | Dinwiddie County - 053 | 23833-2530 | Dominion | 29046 | VDOT Church rd within Parcel | 7 | 222.21 | 1 | Dinwiddie Correctional Unit #27 | 5.05 | 85.8017 | 0.39 | 21.0107 | 0.021011 | 84.0429 | 0.16809 | 10.7252
x | xx | P0001127 | DOC Nottoway CC Nottoway Co | 2892 Schutt Rd | Burkeville | 482.57 | Nottoway County - 135 | 23922-0488 | Dominion | 132461 | Slopes on parcel, forested around the borders | 9 | 330.73 | 2 | Nottoway Correction Center, Nottoway Work Center | 5.04 | 60.2018 | 0.18 | 96.0071 | 0.096007 | 384.0284 | 0.76806 | 7.5252
x | xx | P0001117 | DOC St Brides CC Chesapeake | 701 Sanderson Rd | Chesapeake | 246 | Chesapeake city - 550 | 23322-2073 | Dominion | 11357467 | Very flat and open, few trees | 2 | 263.99 | 2 | St Brides CC and Indian creek CC | 5.06 | 57.6134 | 0.22 | 8199.3012 | 8.1993 | 32797.2047 | 65.5944 | 7.2017
x | xx | P0001100 | DOC VA CC for Women Goochland Co | 2841 River Rd | Goochland | 254.13 | Goochland County - 075 | 23063-0593 | Dominion | 4497730 | Parcel has extreme slopes, some flat area near river | 1 | 258.25 | 1 | Virginia Correctional Center for Women | 5.01 | 33.3116 | 0.13 | 3279.4539 | 3.2795 | 13117.8155 | 26.2356 | 4.1639
x | xx | P0001152 | DOC Halifax CU 23 Halifax Co | 1200 Farm Rd | Halifax | 111.93 | Halifax County - 083 | 24558 | Dominion | 705035 | Some steep slopes on property, VDOT Sinai Area HQ within parcel | 6 | 122.44 | 1 | Halifax CU 23 | 5.07 | 26.8134 | 0.22 | 507.9823 | 0.50798 | 2031.9292 | 4.0639 | 3.3517
x | xx | P0001162 | DOC Haynesville CU 17 Richmond Co | 650 Barn Field Rd | Haynesville | 122.516 | Richmond County - 159 | 22472 | Dominion | 6597296 | Parcel seems to include VDOT Northern Nech AHQ |  | 140.36 | 2 | Haynesville Correctional Center, Haynesville Correctional Unit #17 | 4.94 | 23.49 | 0.13 | 4878.4841 | 4.8785 | 19513.9364 | 39.0279 | 2.9362
x | xx | P0001169 | Beaumont Learning Center | 3700 Beaumont Rd | Beaumont | 722.2 | Powhatan County - 145 | 23014 | Dominion | 5646639 | Adjacent to James River Juvenile | 2 | 128.74 | 2 | Beaumont Juvenile Correction Center, James River Regional Juvenile Detention Center | 5.02 | 17.2003 | 0.13 | 4108.9625 | 4.109 | 16435.85 | 32.8717 | 2.15
x | xx | P0001151 | DOC Central Virginia CU 13 Chesterfield Co | 6900 Courthouse Rd | Chesterfield | 70.54 | Chesterfield County - 041 | 23832-5309 | Dominion | 2094993 | Forested with patches of open area, Parcel includes VDOT Pocahontas AHQ | 9 | 80.57 | 2 | Central Virginia Correctional Unit #13, Chesterfield Womens Diversion Center | 5.03 | 9.379 | 0.12 | 1521.4597 | 1.5215 | 6085.8389 | 12.1717 | 1.1724
x | xx | P0001168 | DJJ Barrett Juvenile Correctional Center | 11391 Barret Center Rd | Mechanicsville | 142.2 | Hanover County - 085 | 23069 | Dominion | 586500 | large forested area, smaller open areas | 1 | 119.1 | 1 | DJJ Barrett Juvenile Correction Center | 4.97 | 20.1 |  | 431.0796 | 0.43108 | 1724.3185 | 3.4486 | 2.5125
[14 empty] | 35 | facilities

## Apco Corrections Parcels
Parcels in Apco Territory
8acre per MW
Property Sheet Complete | GIS Snapshot in File | DGS_ID | Parcel Name | Address | City | DGS_Acre | County | Zip | ServTerr | AnnualKWH | Comment | Apco Meter | Parcel Acres | Sites in Parcel | Facilities in Parcel | Annual Solar Insolation | Open Area Acreage | Open Area Ratio | KW Array to Meet Demand | MW Convert | Number of 250 watt solar panels | Rough Acres Needed for Array | Acreage to MW (potential array size for parcel)
x | xx | P0001102 | DOC Bland Correctional Center Bland Co | 256 Bland Farm Rd | Bland | 2127.51 | Bland County - 021 | 24315-4960 | ApCo | 5047800 | Steep Slopes but some south-facing could be utilized | 1 | 2037.66 | 1 | Bland Correctional Center | 4.77 | 31.1 | 0.015263 | 3865.7132 | 3.8657 | 15462.8529 | 30.9257 | 3.8875
x | xx | P0001135 | DOC Rustburg CU 9 Campbell Co | 479 Camp Nine Rd | Rustburg | 96.39 | Campbell County - 031 | 24588 | ApCo | 706080 | slopes and pond on the property, VDOT adjacent to parcel | 1 | 97.26 | 1 | Rustburg Correctional Unit 9 | 5.05 | 31 | 0.31873 | 510.75 | 0.51075 | 2043.0001 | 4.086 | 3.875
x | xx | P0001139 | DOC Patrick Henry CU 28 Henry Co | 18155 AL Philpott Hwy | Ridgeway | 83.72 | Henry County - 089 | 24148 | ApCo | 561877 | GIS indicates slope but area appears more flat due to agriculture fields, VDOT Horsepasture AHQ within Parcel | 1 | 85.25 | 1 | Patrick Henry CU 28 | 5.03 | 13.5 | 0.15836 | 408.0554 | 0.40806 | 1632.2216 | 3.2644 | 1.6875
x | xx | P0001120 | DOC Red Onion CC Wise Co | 10800 H Jack Rose Hwy | Pound | 375.69 | Wise County - 195 | 24279 | ApCo | 6154750 | Mostly forested parcel. Steep slopes | 1 | 188.04 | 1 | Red Onion State Prison | 4.61 | 8.1 | 0.043076 | 4877.0293 | 4.877 | 19508.1172 | 39.0162 | 1.0125
x | xx | P0001138 | DOC Botetourt CU 25 Botetourt Co | 201 State Dr | Troutville | 71.73 | Botetourt County - 023 | 24175 | ApCo | 19320 | This property was transferred to DMA and VSP | 1 | 97.91 | 1 | Botetourt Correctional Center | 4.9 | 0 | 0 | 14.4031 | 0.014403 | 57.6125 | 0.11523 | 0
x | xx | P0001128 | DOC Marion Corr Treatment Center Smyth Co | 110 Wright St | Marion | 76.216 | Smyth County - 173 | 24354-3145 | ApCo | 142720 | Property is steeply sloped, VDOT Marion Area HQ across st | 1 | 73.85 | 2 | Marion Correctional Treatment Center, Keystone Marion Youth Center | 4.77 | 1.9 | 0.025728 | 109.298 | 0.1093 | 437.1921 | 0.87438 | 0.2375
x | xx | P0001140 | DOC Appalachian CU 29 Russell Co | 924 Clifton Farm Rd | Honaker | 81.77 | Russell County - 167 | 24260-2110 | ApCo | 732348 | Extreme slopes, rocky terrain, Some south facing slope | 6 | 80.41 | 1 | Appalachian Correctional Unit 29 | 4.68 | 0 | 0 | 571.6333 | 0.57163 | 2286.5332 | 4.5731 | 0
x | xx | P0020836 | DOC River North CC Grayson Co | 329 Dell Brook Ln | Independence | 102.213 | Grayson County - 077 | 24348 | ApCo | 5514768 | Slopes that could be utilized, | 4 | 45.13 | 1 | River North Correctional Center | 4.82 | 0 | 0 | 4179.5169 | 4.1795 | 16718.0674 | 33.4361 | 0
x | xx | P0001176 | DOC Pocahontas Prison Site Tazewell | 920 Old River Rd | Pocahontas | 866.9196 | Tazewell County - 185 | 24635-0518 | ApCo | 6147750 | Parcel is mostly forested and steeply sloped | 1 | 189.16 | 1 | Pocahontas State Correctional Center | 4.73 | 0 | 0 | 4747.8931 | 4.7479 | 18991.5723 | 37.9831 | 0
[14 empty] | 10 | facilities

## Corrections Other Territories
8 acre per MW
Property Sheet Complete | GIS Snapshot in File | DGS_ID | Parcel Name | Address | City | DGS_Acre | County | Zip | ServTerr | AnnualKWH | Comment | Parcel Acres | Sites in Parcel | Facilities in Parcel | Annual Solar Insolation | Open Area Acreage | Open Area Ratio | KW Array to Meet Demand | MW Convert | Number of 250 watt solar panels | Rough Acres Needed for Array | Acreage to MW (potential Array Size)
x | xx | P0001164 | DOC Coffeewood CC Culpeper Co Women | 12352 Coffeewood Dr | Mitchells | 702.9625 | Culpeper County - 047 | 22729-2046 | Rappahannock | 0 | Culpeper CC for juveniles in same parcel | 606.6 | 2 | Culpeper Juvenile Correctional Center, Coffeewood Correctional Center | 4.9 | 180.8883 | 0.2982 |  |  |  |  | 22.611
x | xx | P0001132 | DOC Augusta Correctional Center Augusta Co | 1821 Estaline Valley Rd | Craigsville | 872.422 | Augusta County - 015 | 24430-2520 | Barc | 0 |  | 394 | 1 | Augusta Correctional Center | 4.87 | 162.5408 | 0.41254 |  |  |  |  | 20.3176
x | xx | P0001150 | DOC Baskerville CU 4 Mecklenburg Co | 4150 Hayes Mill Rd | Baskerville | 361.698 | Mecklenburg County - 117 | 23915-1720 | Mecklenburg | 0 |  | 350.73 | 1 | Baskerville Correctional Center | 5.09 | 86.0622 | 0.24538 |  |  |  |  | 10.7578
x | xx | P0001145 | DOC Cold Springs CU 10 Augusta Co | 221 Spitler Cir | Greenville | 161.44 | Augusta County - 015 | 24440-9801 | Shenandoah Valley | 0 | VDOT Greenville substation adjacent | 160.94 | 2 | Cold Springs Correctional Unit #10, Cold Springs Work Center | 4.94 | 55.7592 | 0.34646 |  |  |  |  | 6.9699
x | xx | P0001133 | DOC Petersburg Farm Prince George Co | 1100 River Rd | Hopewell | 132.99 | Prince George County - 149 | 23860 | Dominion | 0 | Land Next to Federal Prison FCI Petersburg | 82.83 | 4 | Petersburg Low, Petersburg Medium, Petersburg Camp, Riverside Regional Jail | 5.01 | 36.2635 | 0.43781 |  |  |  |  | 4.5329
x | xx | P0001142 | DOC Harrisonburg DC Rockingham Co | 6624 Beard Woods Ln | Harrisonburg | 135.89 | Rockingham County - 165 | 22802 | Co-op | 0 | Near VDOT site Linville Storage Lot | 140.21 | 1 | Harrisonburg Mens Diversion Center | 4.84 | 25.0826 | 0.17889 |  |  |  |  | 3.1353
x | xx | P0001114 | DOC Sussex I Correctional Center Sussex Co | 24414 Musselwhite Rd | Waverly | (For both Sussex I & II) 539.913 | Sussex County - 183 | 23891-1111 | Prince George | 0 | Includes Sussex 2 CC P0001115 | 545.37 | 2 | Sussex I State Prison, Sussex II State Prison | 5.02 | 23.9647 | 0.043942 |  |  |  |  | 2.9956
x | xx | P0001122 | DOC Fluvanna Womens CC Fluvanna County | 144 Prison Ln | Troy | 104.791 | Fluvanna County - 065 | 22974 | Central VA | 0 |  | 114.68 | 1 | Fluvanna Corectional Center for Women | 4.97 | 15.4493 | 0.13472 |  |  |  |  | 1.9312
x | xx | P0001143 | DOC Caroline CU 2 Caroline Co | 31285 Camp Rd | Hanover | 142.18 | Caroline County - 033 | 23069-2129 | Rappahannock | 0 | VDOT Dawn Sub area adjacent | 25.87 | 1 | Caroline Correctional Unit #2 | 4.95 | 12.0845 | 0.46712 |  |  |  |  | 1.5106
x | xx | P0001125 | Mecklenburg CC | 960 Prison Rd | Boydton | 189.8 | Mecklenburg County - 117 | 23917 | Mecklenburg | 0 |  | 293.57 | 1 | Mecklenburg Correctional Center | 5.11 | 11.6792 | 0.039783 |  |  |  |  | 1.4599
x | xx | P0001136 | DOC Green Rock CC Pittsylvania Co | 475 Green Rock Ln | Chatham | 166.371 | Pittsylvania County - 143 | 24531 | Mecklenburg | 0 | VDOT Chatham AHQ and Storage lot | 151.43 | 2 | Green Rock Correctional Center, Chatham Diversion Center | 5.03 | 6.7887 | 0.044831 |  |  |  |  | 0.84859
x | xx | P0001166 | DOC Lunenburg CC Lunenburg Co | 690 Falls Rd | Victoria | 205.8 | Lunenburg County - 111 | 23974-0650 | Other | 0 | Do Not Have Actual GIS Boundary No County Data | 89.49 | 1 | Lunenburg Correctional Center | 5.06 | 3.5745 | 0.039943 |  |  |  |  | 0.44682
x | xx | P0001137 | DOC Wise CU 18 Wise Co | 3703 Dungannon Rd | Coeburn | 37.419 | Wise County - 195 | 24230 | Kentucky Util | 0 | VDOT Coeburn AHQ within parcel | 87.07 | 1 | Wise Correctional Unit | 4.73 | 1.0573 | 0.012143 |  |  |  |  | 0.13216
x | xx | P0001116 | Wallens Ridge | 272 Dogwood Dr | Big Stone |  | Wise County - 196 | 23237 | Kentucky Util | 0 | Sheltered by surrounding hilly terrain | 193.75 | 1 | Wallens Ridge State Prison | 4.73 | 0 | 0 |  |  |  |  | 0
x | xx | P0001144 | White Post Diversion Detention Center | 201 Ray of Hope Lane | White Post | 260.42 | Clark County | 22663 |  | 0 | flat parcel, open areas | 255.2 | 1 | White Post Men's Detention Center | 4.75 | 192.6 | 0.7547 |  |  |  |  | 24.075
[13 empty] | 22 | Facilities

## Facility Information
Dominion Prison Facilities within the selected Parcels
FACILITYID | NAME | ADDRESS | CITY | STATE | ZIP | TELEPHONE | TYPE | STATUS | POPULATION | COUNTY | COUNTYFIPS | COUNTRY | NAICS_CODE | NAICS_DESC | SOURCE | SOURCE_DAT | VAL_METHOD | VAL_DATE | WEBSITE | SECURELVL | CAPACITY | NGAID
10000923 | Dillwyn Correctional Center | 1522 Prison Rd | Dillwyn | VA | 23936 | (434) 983-4200 | State | Open | 871 | BUCKINGHAM | 51029 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/dillwyn/ | Medium | 0 | 10769117
10000924 | Indian Creek Correctional Center | 801 Sanderson Rd | Chesapeake | VA | 23328 | (757) 421-0095 | State | Open | 988 | CHESAPEAKE | 51550 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/indian-creek/ | Medium | 0 | 10769139
10000925 | St. Brides Correctional Center | 701 Sanderson Rd | Chesapeake | VA | 23328 | (757) 421-6600 | State | Open | 1195 | CHESAPEAKE | 51550 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/st-brides/ | Medium | 0 | 10769138
10001575 | Virginia Correctional Center for Women | 2841 River Rd | Goochland | VA | 23063 | (804) 556-7500 | State | Open | 567 | GOOCHLAND | 51075 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/vccw/ | Medium | 0 | 10769130
10001576 | James River Correctional Center | 1954 State Farm Rd | State Farm | VA | 23160 | Not Available | State | Closed | 0 | GOOCHLAND | 51075 | US | 561210 | CORRECTIONAL FACILITY OPERATION ON A CONTRACT OR FEE BASIS | http://www.vadoc.state.va.us/facilities/central/james-river/default.shtm, https://vadoc.virginia.gov/about/facts/managementInformationSummaries/2011-mis-summary.pdf | Not Available | Imagery and Map Only | 2015-01-14T00:00:00.000Z | Not Available | Medium | 450 | 10769132
10001599 | Southampton Correctional Center | 14545 Old Belfield Rd | Capron | VA | 23829 | Not Available | State | Closed | 0 | SOUTHAMPTON | 51175 | US | 922140 | CORRECTIONAL INSTITUTIONS | http://www.vadoc.state.va.us/facilities/eastern/southampton/default.shtm, https://vadoc.virginia.gov/about/facts/managementInformationSummaries/2011-mis-summary.pdf, http://hamptonroads.com/2009/01/southampton-prison-be-demolished | Not Available | Imagery and Map Only | 2014-10-02T00:00:00.000Z | Not Available | Close | 0 | Not Available
10001600 | Southampton Mens Detention Center | 14380 Terrapin Dr | Capron | VA | 23829 | (434) 658-4174 | State | Open | 101 | SOUTHAMPTON | 51175 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | http://vadoc.virginia.gov/facilities/eastern/southampton/ | Not Available | 0 | 10840687
10001601 | Deerfield Work Center for Women | 15080 Old Belfield Rd | Capron | VA | 23829 | (434) 658-4368 | State | Open | 158 | SOUTHAMPTON | 51175 | US | 561210 | CORRECTIONAL FACILITY OPERATION ON A CONTRACT OR FEE BASIS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/deerfield/ | Minimum | 0 | 10840686
10001602 | Southampton Diversion Center for Women | 14516 Old Belfield Rd | Capron | VA | 23829 | Not Available | State | Closed | 0 | SOUTHAMPTON | 51175 | US | 922140 | CORRECTIONAL INSTITUTIONS | http://www.agencydirectory.virginia.gov/T_Pbresult.cfm?WAgencyname=Correctional%20Education%2C%20Department%20of | Not Available | Imagery and Map Only | 2014-06-06T00:00:00.000Z | Not Available | Minimum | 0 | Not Available
10001581 | Powhatan Reception Center | 3600 Woods Way | State Farm | VA | 23160 | (804) 598-4251 | State | Open | 431 | POWHATAN | 51145 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/powhatan/ | Maximum | 0 | Not Available
10001598 | Deerfield Work Center for Men | 15172 Old Belfield Rd | Capron | VA | 23829 | (434) 658-4368 | State | Open | 189 | SOUTHAMPTON | 51175 | US | 561210 | CORRECTIONAL FACILITY OPERATION ON A CONTRACT OR FEE BASIS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/deerfield/ | Minimum | 0 | 10769104
10001582 | Central Virginia Correctional Unit #13 | 6900 Courthouse Rd | Chesterfield | VA | 23832 | (804) 796-4277 | State | Open | 278 | CHESTERFIELD | 51041 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/centralvirginia/ | Minimum | 0 | 10769135
10001597 | Brunswick Work Center | 1147 Planters Rd | Lawrenceville | VA | 23868 | (434) 848-4131 | State | Open | 183 | BRUNSWICK | 51025 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/brunswick/ | Minimum | 0 | Not Available
10001578 | Buckingham Correctional Center | 1349 Correctional Center Road | Dillwyn | VA | 23936 | (434) 983-4400 | State | Open | 1155 | BUCKINGHAM | 51029 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/buckingham/ | Close | 0 | 10769116
10001603 | Greensville Work Center | 901 Corrections Way | Jarratt | VA | 23870 | (434) 535-7000 | State | Open | 255 | GREENSVILLE | 51081 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Internet Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/greensville/ | Minimum | 0 | Not Available
10001574 | James River Work Center | 1954 State Farm Rd | State Farm | VA | 23160 | (804) 556-7060 | State | Open | 294 | GOOCHLAND | 51075 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/james-river-wc/ | Minimum | 0 | Not Available
10001589 | Nottoway Correctional Center | 2892 Schutt Rd | Burkeville | VA | 23922 | (434) 767-5543 | State | Open | 1259 | NOTTOWAY | 51135 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/nottoway/ | Maximum | 0 | 10769129
10001590 | Nottoway Work Center | 2892 Schutt Rd | Burkeville | VA | 23922 | (434) 767-5543 | State | Open | 191 | NOTTOWAY | 51135 | US | 561210 | CORRECTIONAL FACILITY OPERATION ON A CONTRACT OR FEE BASIS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/nottoway/ | Minimum | 0 | 10769105
10001579 | Deep Meadow Correctional Center | 3500 Woods Way | State Farm | VA | 23160 | (804) 598-5503 | State | Open | 643 | POWHATAN | 51145 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/facilities/central/deep-meadow/, https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/apr14popsummary.pdf | Not Available | Both Imagery and Internet | 2015-01-14T00:00:00.000Z | Not Available | Medium | 0 | 10769133
10001580 | Powhatan Correctional Center | 3600 Woods Way | State Farm | VA | 23160 | (804) 598-4251 | State | Closed | 0 | POWHATAN | 51145 | US | 922140 | CORRECTIONAL INSTITUTIONS | http://www.richmond.com/news/local/central-virginia/powhatan/powhatan-today/article_b837ac14-54d8-11e4-ab61-001a4bcf6878.html | Not Available | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/powhatan/ | Close | 0 | 10769131
10003301 | Dinwiddie Correctional Unit #27 | 13510 Cox Rd | Church Road | VA | 23833 | Not Available | State | Closed | 0 | DINWIDDIE | 51053 | US | 922140 | CORRECTIONAL INSTITUTIONS | http://vadoc.virginia.gov/facilities/central/dinwiddie/, http://www.washingtonpost.com/local/new-virginia-prison-sits-empty-at-a-cost-of-more-than-700000-a-year/2011/05/25/AGXZqwEH_story.html | Not Available | Imagery and Map Only | 2014-10-02T00:00:00.000Z | Not Available | Minimum | 0 | 10769134
10003327 | Greensville Correctional Center | 901 Corrections Way | Jarratt | VA | 23870 | (434) 535-7000 | State | Open | 2990 | GREENSVILLE | 51081 | US | 561210 | CORRECTIONAL FACILITY OPERATION ON A CONTRACT OR FEE BASIS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/greensville/ | Close | 0 | 10769137
10003316 | Halifax Correctional Unit #23 | 1200 Farm Rd | Halifax | VA | 24558 | (434) 572-2683 | State | Open | 240 | HALIFAX | 51083 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/halifax/ | Minimum | 0 | 10769127
10003267 | Hanover Juvenile Correctional Center | 7093 Broad Neck Rd | Hanover | VA | 23069 | Not Available | State | Closed | 0 | HANOVER | 51085 | US | 623990 | BOYS AND GIRLS RESIDENTIAL FACILITIES (E.G., HOMES, RANCHES, VILLAGES) | http://www.djj.virginia.gov/pdf/Admin/HanoverJCC_Press_Release_12172012.pdf | Not Available | Imagery and Map Only | 2014-10-02T00:00:00.000Z | Not Available | Juvenile | 144 | 10769151
10002390 | Brunswick Correctional Center | 1147 Planters Rd | Lawrenceville | VA | 23868 | Not Available | State | Closed | 0 | BRUNSWICK | 51025 | US | 561210 | CORRECTIONAL FACILITY OPERATION ON A CONTRACT OR FEE BASIS | http://www.vadoc.virginia.gov/facilities/eastern/brunswick/, https://vadoc.virginia.gov/about/facts/managementInformationSummaries/2010-mis-summary.pdf | Not Available | Imagery and Map Only | 2014-10-02T00:00:00.000Z | Not Available | Medium | 0 | 10769128
10002379 | Beaumont Juvenile Correctional Center | 3500 Beaumont Rd | Beaumont | VA | 23014 | (804) 556-3316 | State | Open | 265 | POWHATAN | 51145 | US | 623990 | BOYS AND GIRLS RESIDENTIAL FACILITIES (E.G., HOMES, RANCHES, VILLAGES) | http://www.djj.virginia.gov/Facilities.aspx?FacilityID=138, http://www.djj.virginia.gov/pdf/AboutDJJ/UtilizationStudy-09.23.11.pdf | Not Available | Imagery and Map Only | 2015-01-14T00:00:00.000Z | http://www.djj.virginia.gov/ResidentialPages/Beaumont.aspx | Juvenile | 284 | 10769148
10003262 | Haynesville Correctional Center | 421 Barnfield Rd | Haynesville | VA | 22472 | (804) 333-3577 | State | Open | 910 | RICHMOND | 51159 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/haynesville/ | Medium | 0 | 10769143
10003263 | Haynesville Correctional Unit #17 | Camp Seventeen Rd | Haynesville | VA | 22472 | (804) 333-3577 | State | Open | 113 | RICHMOND | 51159 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/haynesville-cu/ | Minimum | 0 | 10769123
10003323 | Southampton County Jail Farm | 19458 Camp Twenty Dr | Capron | VA | 23829 | Not Available | County | Open | 0 | SOUTHAMPTON | 51175 | US | 922140 | JAILS (EXCEPT PRIVATE OPERATION OF) | http://www.southamptoncounty.org/sheriff-detention.aspx, http://www.shso.org/divisions/detention.html | Not Available | Imagery and Map Only | 2014-10-02T00:00:00.000Z | Not Available | Minimum | 100 | 10170891
10003324 | Deerfield Correctional Center | 21360 Deerfield Dr | Capron | VA | 23829 | (434) 658-4368 | State | Open | 1072 | SOUTHAMPTON | 51175 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/deerfield/ | Medium | 0 | 10769140
10003284 | Chesterfield Womens Diversion Center | 7000 Courthouse Rd | Chesterfield | VA | 23832 | (804) 796-4242 | State | Open | 101 | CHESTERFIELD | 51041 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/managementInformationSummaries/2013-mis-summary.pdf | Not Available | Imagery and Map Only | 2015-01-14T00:00:00.000Z | http://vadoc.virginia.gov/community/central.shtm | Minimum | 64 | Not Available
This data was downloaded from the Department of Homeland Security list of US prisons
https://hifld-dhs-gii.opendata.arcgis.com/datasets/2da5b9dfb7ea40099860b028723ccfe9_0
Apco Prison Facilities within the selected Parcels
FACILITYID | NAME | ADDRESS | CITY | STATE | ZIP | TELEPHONE | TYPE | STATUS | POPULATION | COUNTY | COUNTYFIPS | COUNTRY | NAICS_CODE | NAICS_DESC | SOURCE | SOURCE_DAT | VAL_METHOD | VAL_DATE | WEBSITE | SECURELVL | CAPACITY | NGAID
10001588 | Bland Correctional Center | 256 Bland Farm Rd | Bland | VA | 24315 | (276) 688-3341 | State | Open | 636 | BLAND | 51021 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/bland/ | Medium | 0 | 10769108
10001577 | Botetourt Correctional Center | 201 State Dr | Troutville | VA | 24175 | Not Available | State | Closed | 0 | BOTETOURT | 51023 | US | 922140 | CORRECTIONAL INSTITUTIONS | http://www.vadoc.state.va.us/facilities/western/botetourt/default.shtm, https://vadoc.virginia.gov/about/facts/managementInformationSummaries/2010-mis-summary.pdf | Not Available | Imagery and Map Only | 2014-10-02T00:00:00.000Z | Not Available | Minimum | 0 | 10769111
10003289 | Rustburg Correctional Unit #9 | 479 Camp Nine Rd | Rustburg | VA | 24588 | (434) 332-7354 | State | Open | 142 | CAMPBELL | 51031 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Both Imagery and Internet | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/rustburg/ | Minimum | 0 | 10769112
10003333 | Patrick Henry Correctional Unit #28 | 18155 A L Philpott Hwy | Ridgeway | VA | 24148 | (276) 957-2234 | State | Open | 125 | HENRY | 51089 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/patrick-henry/ | Minimum | 0 | 10769113
10003320 | Marion Correctional Treatment Center | 110 Wright St | Marion | VA | 24354 | (276) 783-7154 | State | Open | 236 | SMYTH | 51173 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/marion/ | Medium | 0 | 10769114
10003321 | Keystone Marion Youth Center | 225 State St | Marion | VA | 24354 | Not Available | State | Closed | 0 | SMYTH | 51173 | US | 623990 | BOYS AND GIRLS RESIDENTIAL FACILITIES (E.G., HOMES, RANCHES, VILLAGES) | http://www.tricities.com/news/article_bc603058-0a98-5da0-a959-e563aec3a3bf.html | Not Available | Imagery and Map Only | 2014-06-06T00:00:00.000Z | Not Available | Juvenile | 48 | 10837775
10003307 | Red Onion State Prison | 10800 H Jack Rose Hwy | Pound | VA | 24279 | (276) 796-7510 | State | Open | 793 | WISE | 51195 | US | 922140 | PRISONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/redonion/ | Maximum | 0 | 10170365
10006218 | River North Correctional Center | 329 Dell Brook Lane | Independence | VA | 24348 | (276) 773-2518 | State | Open | 952 | GRAYSON | 51077 | US | 922140 | PRISONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/river-north/ | Medium | 0 | Not Available
10005834 | Pocahontas State Correctional Center | 920 Old River Road | Pocahontas | VA | 24635 | (276) 945-9173 | State | Open | 1028 | TAZEWELL | 51185 | US | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/pocahontas/ | Maximum | 0 | 10839556
Sites with no kWh data
FACILITYID | NAME | ADDRESS | CITY | STATE | ZIP | TELEPHONE | TYPE | STATUS | POPULATION | COUNTY | COUNTYFIPS | NAICS_CODE | NAICS_DESC | SOURCE | SOURCE_DAT | VAL_METHOD | VAL_DATE | WEBSITE | SECURELVL | CAPACITY | NGAID | SHAPE_Leng | SHAPE_Area
10000922 | Culpeper Juvenile Correctional Center | 12240 Coffeewood Dr | Mitchells | VA | 22729 | Not Available | State | Closed | 0 | CULPEPER | 51047 | 623990 | BOYS AND GIRLS RESIDENTIAL FACILITIES (E.G., HOMES, RANCHES, VILLAGES) | http://www.djj.virginia.gov/Facilities.aspx?FacilityID=140, http://www.dailyprogress.com/starexponent/news/local_news/state-budget-looks-to-close-culpeper-juvenile-center-by-july/article_141443fe-880a-11e3-a5a7-001a4bcf6878.html | Not Available | Imagery and Map Only | 2015-01-14T00:00:00.000Z | Not Available | Juvenile | 250 | 10769149 | 0.010932 | 7e-06
10001593 | Sussex I State Prison | 24414 Musselwhite Dr | Waverly | VA | 23891 | (804) 834-9967 | State | Open | 1121 | SUSSEX | 51183 | 922140 | PRISONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/sussex1/ | Maximum | 0 | 10769142 | 0.013095 | 1.1e-05
10001594 | Sussex II State Prison | 24427 Musselwhite Dr | Waverly | VA | 23891 | (804) 834-2678 | State | Open | 1263 | SUSSEX | 51183 | 922140 | PRISONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/sussex2/ | Maximum | 0 | 10769141 | 0.015832 | 1.1e-05
10001591 | Wallens Ridge State Prison | 272 Dogwood Dr | Big Stone Gap | VA | 24219 | (276) 523-3310 | State | Open | 1069 | WISE | 51195 | 922140 | PRISONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/wallens-ridge/ | Maximum | 0 | 10769115 | 0.010439 | 8e-06
10002377 | Caroline Correctional Unit #2 | 31285 Camp Rd | Hanover | VA | 23069 | (804) 994-2161 | State | Open | 137 | CAROLINE | 51033 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/eastern/caroline/ | Minimum | 0 | 10769102 | 0.005344 | 1e-06
10003255 | Cold Springs Correctional Unit #10 | 221 Spitler Circle | Greenville | VA | 24440 | (540) 337-1818 | State | Open | 110 | AUGUSTA | 51015 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/cold-springs/ | Minimum | 0 | 10769118 | 0.005833 | 2e-06
10003256 | Cold Springs Work Center #42 | 192 Spitler Circle | Greenville | VA | 24440 | (540) 337-1818 | State | Open | 127 | AUGUSTA | 51015 | 561210 | CORRECTIONAL FACILITY OPERATION ON A CONTRACT OR FEE BASIS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/cold-springs/ | Minimum | 0 | 10769144 | 0.004231 | 1e-06
10001573 | Augusta Correctional Center | 1821 Estaline Valley Rd | Craigsville | VA | 24430 | (540) 997-7000 | State | Open | 1277 | AUGUSTA | 51015 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/augusta/ | Close | 0 | 10769119 | 0.012577 | 1e-05
10001572 | Coffeewood Correctional Center | 12352 Coffeewood Dr | Mitchells | VA | 22729 | (540) 829-6483 | State | Open | 958 | CULPEPER | 51047 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Both Imagery and Internet | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/coffeewood/ | Medium | 0 | 10769121 | 0.01631 | 1.7e-05
10001592 | Lunenburg Correctional Center | 690 Falls Rd | Victoria | VA | 23974 | (434) 696-2045 | State | Open | 922 | LUNENBURG | 51111 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/lunenburg/ | Medium | 0 | 10769136 | 0.014817 | 1.3e-05
10003268 | Fluvanna Correctional Center for Women | 144 Prison Lane | Troy | VA | 22974 | (434) 984-3700 | State | Open | 1255 | FLUVANNA | 51065 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/fluvanna/ | Maximum | 0 | 10769103 | 0.01294 | 1e-05
10003331 | Baskerville Correctional Center | 4150 Hayes Mill Rd | Baskerville | VA | 23915 | (434) 447-3857 | State | Open | 479 | MECKLENBURG | 51117 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/central/baskerville/ | Medium | 0 | 10769126 | 0.009682 | 3e-06
10003332 | Mecklenburg Correctional Center | 960 Prison Rd | Boydton | VA | 23917 | Not Available | State | Closed | 0 | MECKLENBURG | 51117 | 922140 | CORRECTIONAL INSTITUTIONS | http://www.vadoc.state.va.us/facilities/central/mecklenburg/default.shtm, http://hamptonroads.com/2011/12/correctional-center-near-emporia-close | Not Available | Imagery and Map Only | 2014-10-02T00:00:00.000Z | Not Available | Maximum | 0 | 10769125 | 0.011219 | 9e-06
10003310 | Green Rock Correctional Center | 475 Green Rock Lane | Chatham | VA | 24531 | (434) 797-2000 | State | Open | 1029 | PITTSYLVANIA | 51143 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/greenrock/ | Close | 0 | 10837804 | 0.010837 | 8e-06
10003308 | Wise Correctional Unit | 3703 Dungannon Rd | Coeburn | VA | 24230 | (276) 679-9204 | State | Open | 105 | WISE | 51195 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/facilities/western/wise/ | Minimum | 0 | 10769110 | 0.005292 | 1e-06
10003247 | Harrisonburg Mens Diversion Center | 6624 Beard Woods Lane | Harrisonburg | VA | 22802 | (540) 833-2011 | State | Open | 96 | ROCKINGHAM | 51165 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/research/new-popsum/2014/nov14popsummary.pdf | 2014-11-01 | Imagery and Map Only | 2015-01-14T00:00:00.000Z | https://vadoc.virginia.gov/community/community-facilities.shtm | Minimum | 87 | Not Available | 0.006561 | 2e-06
10003242 | White Post Mens Detention Center | 201 Ray of Hope Lane | White Post | VA | 22663 | (540)868-7026 | State | Open | 92 | Clark | 51043 | 922140 | CORRECTIONAL INSTITUTIONS | https://vadoc.virginia.gov/about/facts/managementInformationSummaries/2013-mis-summary.pdf |  | Imagery and Map Only |  |  |  | 69 |  | 0.00764 | 4.0366