## DOM Extract from DGS
DGS_ID | AgencyID | Name | Address | City | Zip | Lat | Long | Address Integrity | DGS_Acres | GIS Acres | UseType | County | Agency | Utility_Territory | Meters# | Factor% | Open Area Acres | Annual kWh | Consider Property? | Reason | KW Array to meet demand | MW Convert | # 250 watt solar panels | Rough Acres Needed for Array | Notes | GIS Snapshot | GoogleEarth | Annual Solar Insolation
P0000028 | 12300032 | DMA Camp Pendleton SMR Va Beach | General Booth Blvd | Virginia Beach | 23451 | 36.819020 | -75.981008 |  | 421.5227 | 340.37 | Military | Virginia Beach city - 810 | Military Affairs, Dept of (DMA) -123 | Dominion | 2 |  | 76.5 | 2143500 | Yes | Larger property, open area available | 1621.1464 | 1.6211 | 6484.5855 | 12.9692 | located along the coast | Yes | Yes | 4.83
P0000017 | 12300019 | DMA Onancock Armory Accomack Co | 67 Kerr St | Onancock | 23417 | 37.712423 | -75.736518 |  | 7.83 | 7.22 | Military | Accomack County - 001 | Military Affairs, Dept of (DMA) -123 | A & N |  |  | 3.5 |  | Yes | Nice flat open area | unknown |  |  |  | No utility info at this time | Yes | Yes | 4.68
P0000020 | 12300022 | DMA Pulaski Armory Pulaski Co | Route 11 S Draper Mt | Pulaski | 24301 | 37.034943 | -80.782123 | unknown | 5 | 618.91 | Military | Pulaski County - 155 | Military Affairs, Dept of (DMA) -123 | ApCo |  |  |  |  | No | Forested, sloped, |  |  |  |  | unsure if address is correct, discrepancy with DGS acres | Yes
P0000013 | 12300015 | DMA Lynchburg Armory Lynchburg City | 857 Leesville Rd | Lynchburg | 24502-3430 | 37.327207 | -79.215434 | low | 28.48 | 32.23 | Military | Lynchburg city - 680 | Military Affairs, Dept of (DMA) -123 | ApCo |  |  |  |  | No | Forested and sloped |  |  |  |  | Adjacent to VDOT Timberlake AHQ | Yes
P0000016 | 12300018 | DMA Norfolk Armory & OMS #5 Norfolk City | 3777 Virginia Beach Blvd | Norfolk | 23502 | 36.854416 | -76.231551 |  | 17.8532 | 16.04 | Military | Norfolk city - 710 | Military Affairs, Dept of (DMA) -123 | Dominion | 3 |  |  | 292652 | No | Forested, wetland | [5 empty] | Yes
P0000007 | 12300008 | DMA Danville Armory Danville City | 3194 N Main St | Danville | 24540 | 36.636884 | -79.385643 |  | 14.574 | 14.77 | Military | Danville city - 590 | Military Affairs, Dept of (DMA) -123 | Southside Coop |  |  |  |  | No | Not enough open area |  |  |  |  | Possible rooftop | Yes
P0022604 |  | DMA Alleghany Armory - Alleghany County | Rt 60/220 at Intersection Rt 64 | Alleghany County |  | 37.821096 | -79.801923 | low | 10.475 | 10.82 | Military | Alleghany County - 005 | Military Affairs, Dept of (DMA) -123 | Dominion |  |  |  |  | No | Forested |  |  |  |  | Armory Bld on School property | Yes
P0000018 | 12300020 | DMA Petersburg Armory Petersburg City | 1800 Baylors Ln | Petersburg | 23805-1818 | 37.203104 | -77.410156 |  | 10.17 | 10.54 | Military | Petersburg city - 730 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 0 |  | 1681 | No | No open area, forested |  |  |  |  | Possible rooftop | Yes
P0000019 | 12300021 | DMA Portsmouth Armory & OMS #6 Portsmouth | 3200 Elmhurst Ln | Portsmouth | 23701-2645 | 36.803697 | -76.372152 |  | 10.16 | 10.26 | Military | Portsmouth city - 740 | Military Affairs, Dept of (DMA) -123 | Dominion | 2 |  |  | 208880 | No | Forested, not enough open area |  |  |  |  | Possible rooftop | Yes
P0000034 | 12300040 | DMA Cedar Bluff Armory Tazewell Co | 175 Essayons Dr | Cedar Bluff | 24609 | 37.005775 | -81.801352 | low | 10 | 9.61 | Military | Tazewell County - 185 | Military Affairs, Dept of (DMA) -123 | ApCo | 2 |  |  | 142240 | No | Sloped, not enough open area | [5 empty] | Yes
P0000027 | 12300031 | DMA Waller Depot Henrico Co | 5001 Waller Rd | Richmond | 23150 | 37.588689 | -77.489015 |  | 9.4 | 9.48 | Military | Henrico County - 087 | Military Affairs, Dept of (DMA) -123 | Dominion | 2 |  |  | 16115 | No | Not enough open area |  |  |  |  | South facing roof slopes | Yes
P0000032 | 12300037 | DMA South Boston Armory Halifax Co | Hamilton Blvd | South Boston | 24592 | 36.716342 | -78.911204 |  | 9.7681 | 9.39 | Military | Halifax County - 083 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 43.2 |  | 96960 | No | Forested, not enough open area |  |  |  |  | Possible if smaller array | Yes
P0021485 |  | DMA Fairfax Armory Fairfax Co | 9801 Braddock Road | Fairfax County |  | 38.824406 | -77.283332 |  | 2.1192 | 9.03 | Military | Fairfax County - 059 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 49.3 |  | 376560 | No | Too small, no area | [5 empty] | Yes
P0000004 | 12300004 | DMA Charlottesville Armory Albemarle Co | 1640 Avon Street Ext | Charlottesville | 22902-8705 | 38.004605 | -78.495427 |  | 8.336 | 8.87 | Military | Albemarle County - 003 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 43.4 |  | 130700 | No | Too small, no area | [5 empty] | Yes
P0000003 | 12300003 | DMA Big Stone Gap Armory Wise Co | 2100 Shawnee Ave E | Big Stone Gap | 24219-3358 | 36.877918 | -82.755716 |  | 7.24 | 8.14 | Military | Wise County - 195 | Military Affairs, Dept of (DMA) -123 | Kentucky Utilities |  |  |  |  | No | Too small, no area |  |  |  |  | Forested | Yes
P0000010 | 12300011 | DMA Fredericksburg Armory Fredericksburg | 1700 Jefferson Davis Hwy | Fredericksburg | 22401-4662 | 38.293664 | -77.484028 |  | 6.705 | 7.94 | Military | Fredericksburg city - 630 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 36.9 |  | 212560 | No | Too small, no area | [5 empty] | Yes
P0000011 | 12300012 | DMA Gate City Armory Gate City | 157 Beech St | Gate City | 24251-3622 | 36.639477 | -82.567017 |  | 5.3021 | 7.36 | Military | Scott County - 169 | Military Affairs, Dept of (DMA) -123 | ApCo | 3 |  |  | 261580 | No | Forested, no open area |  |  |  |  | Some confusion on kWh values | Yes
P0000015 | 12300017 | DMA Martinsville Armory Martinsville City | 315 Commonwealth Blvd W | Martinsville | 24112-1824 | 36.696807 | -79.885165 |  | 8.04 | 7.35 | Military | Martinsville city - 690 | Military Affairs, Dept of (DMA) -123 | Southside Coop |  |  |  |  | No | Forested, no open area | [5 empty] | Yes
P0022605 |  | DMA Blackstone Armory Blackstone/Nottoway Co. | S r/w Rt 40 near Intersesction Rt 668 | Blackstone |  | 37.079637 | -77.978768 |  | 6.92 | 7.15 | Military | Nottoway County - 135 | Military Affairs, Dept of (DMA) -123 | Other |  |  |  |  | No | Too small | [5 empty] | Yes
P0000025 | 12300028 | DMA Suffolk Armory Suffolk City | PO Box 1207 | Suffolk | 23439-1207 | 36.772731 | -76.584370 |  | 6.54 | 6.6 | Military | Suffolk city - 800 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 32.6 |  | 101920 | No | Too small | [5 empty] | Yes
P0000035 | 12300041 | DMA Woodstock Armory Shenandoah Co | 451 Hoover Rd | Woodstock | 22664-2017 | 38.861698 | -78.537708 |  | 7.026 | 6.6 | Military | Shenandoah County - 171 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 48.7 |  | 92320 | No | Forest and too small | [5 empty] | Yes
P0000033 | 12300038 | DMA Lexington Armory Rockbridge Co | RR 7 Box 39A | Lexington | 24450-9807 | 37.800634 | -79.423170 |  | 6 | 5.99 | Military | Rockbridge County - 163 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 23.7 |  | 77360 | No | Too small, no area | [5 empty] | Yes
P0000024 | 12300027 | DMA Staunton Armory and W State Hospital OMS 12(P0000029) | 601 Calvert Street | Staunton | 24401 | 38.140843 | -79.070368 |  | 5 | 5.64 | Military | Staunton city - 790 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 28 |  | 38693 | No | Too small, no area | [5 empty] | Yes
P0000014 | 12300016 | DMA Manassas Armory Prince William Co | 10628 Dumfries Rd | Manassas | 20112-2720 | 38.725159 | -77.470896 |  | 5.5674 | 5.62 | Military | Prince William County - 153 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 42.8 |  | 184240 | No | Too small, no area |  |  |  |  | May be possible for small array (1 acre) | Yes
P0000023 | 12300026 | DMA Rocky Mount Armory Franklin Co | 212 Tanyard Rd | Rocky Mount | 24151-1540 | 37.000648 | -79.883009 |  | 5.4111 | 5.42 | Military | Franklin County - 067 | Military Affairs, Dept of (DMA) -123 | ApCo |  |  |  |  | No | Too small |  |  |  |  | May be possible for small array (1 acre) | Yes
P0000002 | 12300002 | DMA Bedford Armory Beford Co | 29 Omaha Beach Cir | Bedford | 24523-2024 | 37.331369 | -79.513399 |  | 5 | 5.26 | Military | Bedford County - 019 | Military Affairs, Dept of (DMA) -123 | Southside Coop |  |  |  |  | No | Too small | [5 empty] | Yes
P0000026 | 12300029 | DMA Warrenton Armory Fauquier Co | 629 Waterloo Rd | Warrenton | 20186-3013 | 38.718461 | -77.814886 |  | 5 | 5.18 | Military | Fauquier County - 061 | Military Affairs, Dept of (DMA) -123 | Dominion |  |  |  |  | No | Too small |  |  |  |  | May be possible for small array (1 acre) | Yes
P0000008 | 12300009 | DMA Farmville Armory Prince Edward | 813 Longwood Ave | Farmville | 23901-2803 | 37.296768 | -78.383757 |  | 5 | 5.04 | Military | Prince Edward County - 147 | Military Affairs, Dept of (DMA) -123 | Dominion | 1 | 48.1 |  | 59941 | No | Too small |  |  |  |  | small open area appears in use | Yes
P0000021 | 12300023 | DMA Radford Armory Radford City | 6th & Scott Sts | Radford | 24143 | 37.132047 | -80.567238 |  | 5.48 | 5.03 | Military | Radford city - 750 | Military Affairs, Dept of (DMA) -123 | Southside Coop |  |  |  |  | No | Forested and small |  |  |  |  | Next to school property | Yes
P0000009 | 12300010 | DMA Franklin Armory Southampton Co | 900 Armory Dr | Franklin | 23851-1854 | 36.674243 | -76.931468 |  | 5 | 4.92 | Military | Southampton County - 175 | Military Affairs, Dept of (DMA) -123 | Southside Coop |  |  |  |  | No | Too small | [5 empty] | Yes
P0000006 | 12300007 | DMA Christiansburg Armory Montgomery Co | 15 College St | Christiansburg | 24073-2921 | 37.131423 | -80.412662 |  | 3.948 | 4.03 | Military | Montgomery County - 121 | Military Affairs, Dept of (DMA) -123 | ApCo |  |  |  |  | No | Too small | [5 empty] | Yes
P0000005 | 12300005 | DMA Chatham Armory Pittsyvania Co | 326 S Main St | Chatham | 24531-5374 | 36.820099 | -79.397417 |  | 3 | 2.63 | Military | Pittsylvania County - 143 | Military Affairs, Dept of (DMA) -123 | Dominion |  |  |  |  | No | Too small | [5 empty] | Yes
P0000012 | 12300013 | DMA Harrisonburg Armory Harrisonburg | 340 S Willow St | Harrisonburg | 22801-1936 | 38.446704 | -78.879254 |  | 2.3257 | 2.25 | Military | Harrisonburg city - 660 | Military Affairs, Dept of (DMA) -123 | Other |  |  |  |  | No | too small | [5 empty] | Yes

## Dom from GIS
DGS_ID | Notes | AgencyID | Name | Address | City | Zip | DGS_Acres | GIS_Acres | County_1 | kWh_Annual | Util_Comp | Ownwershp
P0022604 | Adjacent to Dabney Lancaster College |  | DMA Alleghany Armory - Alleghany County | Rt 60/220 at Intersection Rt 64 | Alleghany County |  | 10.475 | 10.8245 | Alleghany County - 005 | 0 | Dominion | Investor
P0000002 |  | 12300002 | DMA Bedford Armory Beford Co | 29 Omaha Beach Cir | Bedford | 24523-2024 | 5 | 5.2618 | Bedford County - 019 | 0 | Southside | Co-op
P0000003 | 2 parcels in county data (merged) | 12300003 | DMA Big Stone Gap Armory Wise Co | 2100 Shawnee Ave E | Big Stone Gap | 24219-3358 | 7.24 | 8.1419 | Wise County - 195 | 0 | Kentucky Utilities | Investor
P0022605 | No owner names in records |  | DMA Blackstone Armory Blackstone/Nottoway Co. | S r/w Rt 40 near Intersesction Rt 668 | Blackstone |  | 6.92 | 7.1525 | Nottoway County - 135 | 0 | Other | Non-Jur
P0000028 | No owner names in records | 12300032 | DMA Camp Pendleton SMR Va Beach | General Booth Blvd | Virginia Beach | 23451 | 421.5227 | 340.3729 | Virginia Beach city - 810 | 0 | Dominion | Investor
P0000034 | Adjacent to Southwesy VA Community College | 12300040 | DMA Cedar Bluff Armory Tazewell Co | Rt 19 | Richlands |  | 10 | 9.6109 | Tazewell County - 185 | 0 | APCo | Investor
P0000004 | No owner names in records | 12300004 | DMA Charlottesville Armory Albemarle Co | 1640 Avon Street Ext | Charlottesville | 22902-8705 | 8.336 | 8.8677 | Albemarle County - 003 | 0 | Dominion | Investor
P0000005 | Next to Chatham Cemetary | 12300005 | DMA Chatham Armory Pittsyvania Co | 326 S Main St | Chatham | 24531-5374 | 3 | 2.6295 | Pittsylvania County - 143 | 0 | Dominion | Investor
P0000006 | Near Christiansburg Middle School | 12300007 | DMA Christiansburg Armory Montgomery Co | 15 College St | Christiansburg | 24073-2921 | 3.948 | 4.0297 | Montgomery County - 121 | 0 | APCo | Investor
P0000007 | Near Highland Burial Park | 12300008 | DMA Danville Armory Danville City | 3194 N Main St | Danville | 24540 | 14.574 | 14.771 | Danville city - 590 | 0 | Southside | Co-op
P0021485 | No owner names in records |  | DMA Fairfax Armory Fairfax Co | 9801 Braddock Road | Fairfax County |  | 2.1192 | 9.0347 | Fairfax County - 059 | 0 | Dominion | Investor
P0000008 |  | 12300009 | DMA Farmville Armory Prince Edward | 813 Longwood Ave | Farmville | 23901-2803 | 5 | 5.036 | Prince Edward County - 147 | 0 | Dominion | Investor
P0000009 |  | 12300010 | DMA Franklin Armory Southampton Co | 900 Armory Dr | Franklin | 23851-1854 | 5 | 4.922 | Southampton County - 175 | 0 | Southside | Co-op
P0000010 | Adjacent to forested parcel Univ Mary Washington | 12300011 | DMA Fredericksburg Armory Fredericksburg | 1700 Jefferson Davis Hwy | Fredericksburg | 22401-4662 | 6.705 | 7.9375 | Fredericksburg city - 630 | 0 | Dominion | Investor
P0000011 | Adjacent to Gate City High School | 12300012 | DMA Gate City Armory Gate City | 157 Beech St | Gate City | 24251-3622 | 5.3021 | 7.3594 | Scott County - 169 | 0 | APCo | Investor
P0000012 | Adjacent to James Madison University Memorial Jall | 12300013 | DMA Harrisonburg Armory Harrisonburg | 340 S Willow St | Harrisonburg | 22801-1936 | 2.3257 | 2.2459 | Harrisonburg city - 660 | 0 | Other | Non-Jur
P0000033 | Adjacent to Floyd S Kay VOC School, VA Military In | 12300038 | DMA Lexington Armory Rockbridge Co | RR 7 Box 39A | Lexington | 24450-9807 | 6 | 5.9912 | Rockbridge County - 163 | 0 | Dominion | Investor
P0000013 | No Owner names in records | 12300015 | DMA Lynchburg Armory Lynchburg City | 857 Leesville Rd | Lynchburg | 24502-3430 | 28.48 | 32.2285 | Lynchburg city - 680 | 0 | APCo | Investor
P0000014 | Owner Commonwealth of VA | 12300016 | DMA Manassas Armory Prince William Co | 10628 Dumfries Rd | Manassas | 20112-2720 | 5.5674 | 5.6177 | Prince William County - 153 | 0 | Dominion | Investor
P0000015 | Owner VIRGINIA NATIONAL GUARD ARMORY | 12300017 | DMA Martinsville Armory Martinsville City | 315 Commonwealth Blvd W | Martinsville | 24112-1824 | 8.04 | 7.3547 | Martinsville city - 690 | 0 | Southside | Co-op
P0000016 | No owner names in records | 12300018 | DMA Norfolk Armory & OMS #5 Norfolk City | 3777 Virginia Beach Blvd | Norfolk | 23502 | 17.8532 | 16.0417 | Norfolk city - 710 | 0 | Dominion | Investor
P0000017 | No owner names in records | 12300019 | DMA Onancock Armory Accomack Co | 67 Kerr St | Onancock | 23417 | 7.83 | 7.2239 | Accomack County - 001 | 0 | A & N | Co-op
P0000018 | Owner Commonwealth of VA | 12300020 | DMA Petersburg Armory Petersburg City | 1800 Baylors Ln | Petersburg | 23805-1818 | 10.17 | 10.5435 | Petersburg city - 730 | 0 | Dominion | Investor
P0000019 | Dept of Military Affairs #316 | 12300021 | DMA Portsmouth Armory & OMS #6 Portsmouth | 3200 Elmhurst Ln | Portsmouth | 23701-2645 | 10.16 | 10.2649 | Portsmouth city - 740 | 0 | Dominion | Investor
P0000020 | National Guard Armory | 12300022 | DMA Pulaski Armory Pulaski Co | Route 11 S Draper Mt | Pulaski | 24301 | 5 | 618.9127 | Pulaski County - 155 | 0 | APCo | Investor
P0000021 | Adjacent to City Radford School board land | 12300023 | DMA Radford Armory Radford City | 6th & Scott Sts | Radford | 24143 | 5.48 | 5.0284 | Radford city - 750 | 0 | Southside | Co-op
P0000023 | No owner names in records | 12300026 | DMA Rocky Mount Armory Franklin Co | 212 Tanyard Rd | Rocky Mount | 24151-1540 | 5.4111 | 5.4212 | Franklin County - 067 | 0 | APCo | Investor
P0000032 | Dept of Military Affairs | 12300037 | DMA South Boston Armory Halifax Co | Hamilton Blvd | South Boston | 24592 | 9.7681 | 9.3885 | Halifax County - 083 | 0 | Dominion | Investor
P0000024 | Includes P0000029 | 12300027 | DMA Staunton Armory and W State Hospital OMS 12(P0000029) | 601 Calvert Street | Staunton | 24401 | 5 | 5.6433 | Staunton city - 790 | 0 | Dominion | Investor
P0000025 | No owner names in records | 12300028 | DMA Suffolk Armory Suffolk City | PO Box 1207 | Suffolk | 23439-1207 | 6.54 | 6.6025 | Suffolk city - 800 | 0 | Dominion | Investor
P0000027 | 5001 and 5003 Waller Rd-No owner info | 12300031 | DMA Waller Depot Henrico Co | 5001 Waller Rd | Richmond | 23150 | 9.4 | 9.4767 | Henrico County - 087 | 0 | Dominion | Investor
P0000026 | Commonwealth of VA Armory | 12300029 | DMA Warrenton Armory Fauquier Co | 629 Waterloo Rd | Warrenton | 20186-3013 | 5 | 5.1801 | Fauquier County - 061 | 0 | Dominion | Investor
P0000035 | Dept of Military affairs Owner | 12300041 | DMA Woodstock Armory Shenandoah Co | 451 Hoover Rd | Woodstock | 22664-2017 | 7.026 | 6.6043 | Shenandoah County - 171 | 0 | Dominion | Investor