## Sheet1
GIS | Snapshot | DGS_ID | AgencyID | Name | Address | City | Zip | Lat | Lon | DGS_Acres | GIS Acres | UseType | County | Agency | Service Territory | Selected | Reason | Notes | Solar Annual Hrs | Open Acres | Meters | kWh Annual | KW Array to Meet Demand | MW Convert | Number of 250 Watt Panels Needed | Rough Acres Needed for Array
x | xx | P0001175 | 79400001 | DBHDS VA Center for Behavioral Rehab Nottoway Co | 4901 Patrick henry Highway | Crewe | 23930 | 37.1979 | -78.1746 | 27.89 | 67.33 | Hospital | Nottoway County - 135 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 | Dominion | Y |  | Adjacent to piedmont geriatric | 5.04 | 33.3 | 1 | 4911300 | 3559.6869 | 3.5597 | 14238.7476 | 28.4775
x | xx | P0001109 | 72900001 | DBHDS Piedmont Geriatric Hospital Nottoway Co | 5001 E Patrick Henry Highway | Burkeville | 23922 | 37.1928 | -78.1752 | 124.42 | 144.12 | Hospital | Nottoway County - 135 | Piedmont Geriatric Hospital (PGH) -729 | Dominion | Y |  | Next to VA Cent for Behavioral Rehab | 5.04 | 33.2 | 7 | 2876619 | 2084.9598 | 2.085 | 8339.8391 | 16.6797
x | xx | P0001104 | 72400001 | DBHDS Catawba Hospital Roanoke Co | 5525 Catawba Hospital Drive | Catawba | 24070 | 37.3914 | -80.111 | 670.161 | 649.34 | Hospital | Roanoke County - 161 | Catawba Hospital (CH) -724 | ApCO and Botetourt | Y |  |  | 4.82 | 24.2 | 1 | 2815800 | 2134.0306 | 2.134 | 8536.1223 | 17.0722
x | xx | P0001082 | 70300001 | DBHDS Central State Hospital Petersburg | 26317 West Washington St | Petersburg | 23803 | 37.209 | -77.4516 | 565.954 | 585.08 | Hospital | Dinwiddie County - 053 | Central State Hospital (CSH) -703 | Dominion | Y |  | Adjacent to VDOT Petersburg Residency | 5.04 | 21 | 1 | 197195 | 142.926 | 0.14293 | 571.704 | 1.1434
x | xx | P0001084 | 70400001 | DBHDS Eastern State Hospital James City Co | 4601 Ironbound Rd | Williamsburg | 23188-2648 | 37.2901 | -76.7357 | 500.0393 | 499.19 | Hospital | James City County - 095 | Eastern State Hospital (ESH) -704 | Dominion | Y |  | Adjacent to VDOT Williamsburg Residency | 5.04 | 16.4 | 1 | 9201500 | 6669.2035 | 6.6692 | 26676.8138 | 53.3536
x | xx | P0021933 |  | DBHDS Western State Hosp. 2010 Staunton | 103 Valley Center Dr | Staunton | 24401 | 38.1427 | -79.0274 | 66.346 | 66.23 | Hospital | Staunton city - 790 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 | Dominion & Shen Valley | Y |  | unknown load | 4.95 | 8.7
x | x | P0001085 | 70500001 | DBHDS SW VA Mntl Hlth Inst Smyth Co | 340 Bagley Circle | Marion | 24354 | 36.8327 | -81.5114 | 20.53 | 84.12 | Hospital | Smyth County - 173 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 | ApCO and Botetourt | N | Not enough area | Next to Marion Correctional Center, and Marion VDOT AHQ | 4.77 | 3.7 | 7 | 1208115 | 925.2003 | 0.9252 | 3700.8012 | 7.4016
x | x | P0000236 | 20300001 | DARS WWRC Rehab Center Augusta Co | 243 Woodrow Wilson Ave | Fisherville | 22939 | 38.1187 | -78.2294 | 222.11 | 21.06 | Hospital | Augusta County - 015 | Woodrow Wilson Rehabilitation Center (WWRC) -203 | Dominion | N | Not enough open area | No owner info in county GIS/unsure of parcel size | 4.94
no | no | P0001089 | 70500006 | DBHDS Big Stone Gap Home Wise Co | NA | Wise County |  |  |  | 3.92 |  | Hospital | Wise County - 195 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 | Unknown | N | too small, unknown location | Could not locate this property
x | x | P0001108 | 72800001 | DBHDS N VA Mental Health Institute Fairfax Co | 3302 Gallows Rd | Falls Church | 22042-3353 | 38.8579 | -77.232 | 10 | 9.8 | Hospital | Fairfax County - 059 | Northern Va Mental Hlth Institute (NVMHI) -728 | Dominion | N | Not enough open area |  | 4.91
x | x | P0001119 | 73900001 | DBHDS S. VA. Mental Health Inst Danville City | 382 Taylor Dr | Danville | 24541-4023 | 36.5555 | -79.41 | 19.3 | 19.3 | Hospital | Danville city - 590 | Southern Va Mental Hlth Institute (SVMHI) -739 | ApCo | N | Forested, not enough open area |  | 5.04
no | no | P0001107 | 72700001 | DBHDS VA Treatmnt Cntr for Children Richmond City | 515 N 10th st | Richmond | 23298 | 37.5427 | -77.4301 | 0.8347 |  | Hospital | Richmond city - 760 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 | Unknown | No | In town, too small | Downtown. No open area

## For GIS
DGS_ID | AgencyID | Name | Address | City | Zip | Lat | Lon | DGS_Acres | UseType | County | Agency | Selected | Reason | Notes
P0000236 | 20300001 | DARS WWRC Rehab Center Augusta Co | 243 Woodrow Wilson Ave | Fisherville | 22939 | 38.1187 | -78.2294 | 222.11 | Hospital | Augusta County - 015 | Woodrow Wilson Rehabilitation Center (WWRC) -203
P0001089 | 70500006 | DBHDS Big Stone Gap Home Wise Co | NA | Wise County |  |  |  | 3.92 | Hospital | Wise County - 195 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 | N | too small, unknown location
P0001104 | 72400001 | DBHDS Catawba Hospital Roanoke Co | 5525 Catawba Hospital Drive | Catawba | 24070 | 37.3914 | -80.111 | 670.161 | Hospital | Roanoke County - 161 | Catawba Hospital (CH) -724
P0001082 | 70300001 | DBHDS Central State Hospital Petersburg | 26317 West Washington St | Petersburg | 23803 | 37.209 | -77.4516 | 565.954 | Hospital | Dinwiddie County - 053 | Central State Hospital (CSH) -703
P0001084 | 70400001 | DBHDS Eastern State Hospital James City Co | 4601 Ironbound Rd | Williamsburg | 23188-2648 | 37.2901 | -76.7357 | 500.0393 | Hospital | James City County - 095 | Eastern State Hospital (ESH) -704
P0001108 | 72800001 | DBHDS N VA Mental Health Institute Fairfax Co | 3302 Gallows Rd | Falls Church | 22042-3353 | 38.8579 | -77.232 | 10 | Hospital | Fairfax County - 059 | Northern Va Mental Hlth Institute (NVMHI) -728
P0001109 | 72900001 | DBHDS Piedmont Geriatric Hospital Nottoway Co | 5001 E Patrick Henry Highway | Burkeville | 23922 | 37.1928 | -78.1752 | 124.42 | Hospital | Nottoway County - 135 | Piedmont Geriatric Hospital (PGH) -729 |  |  | Next to state prison
P0001119 | 73900001 | DBHDS S. VA. Mental Health Inst Danville City | 382 Taylor Dr | Danville | 24541-4023 | 36.5555 | -79.41 | 19.3 | Hospital | Danville city - 590 | Southern Va Mental Hlth Institute (SVMHI) -739
P0001085 | 70500001 | DBHDS SW VA Mntl Hlth Inst Smyth Co | 340 Bagley Circle | Marion | 24354 | 36.8327 | -81.5114 | 20.53 | Hospital | Smyth County - 173 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 |  |  | Next to Marion Correctional Center
P0001175 | 79400001 | DBHDS VA Center for Behavioral Rehab Nottoway Co | 4901 Patrick henry Highway | crewe | 23930 | 37.1979 | -78.1746 | 27.89 | Hospital | Nottoway County - 135 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 |  |  | Adjacent to piedmont geriatric
P0001107 | 72700001 | DBHDS VA Treatmnt Cntr for Children Richmond City | 515 N 10th st | Richmond | 23298 | 37.5427 | -77.4301 | 0.8347 | Hospital | Richmond city - 760 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720 | No | In town, too small
P0021933 |  | DBHDS Western State Hosp. 2010 Staunton | 103 Valley Center Dr | Staunton | 24401 | 38.1427 | -79.0274 | 66.346 | Hospital | Staunton city - 790 | Behav'l Hlth & Dev'l Serv, Dept of (DBHDS) -720