## Sheet1
DMME Selected 5 sites, 4/20/2016
DGS Record ID | Agency ID | Name | Address | City | Postal Code | DGS Acreage | Use Type | County/City | Managing Agency | Notes | GIS_Acres | Service Territory | Parcel Annual Demand kWh | Open Area Acres | Roof Area Sq Ft | Array to Meet Demand | Annual Solar Insolation (kWh/m2/Day) | Number of 250 watt Panels to Meet Demand | Solar Panel Raw Sq Footage | Roof Sq Ft divided by 20 (panel size approx 20 sq ft) | Approximate KW generated by roof PV | Land Acres Needed for Array
P0000582 | 41100048 | DOF Central Office HDQ Charlottesville | 900 Natural Resources Dr | Charlottesville | 22903-0758 | 32.62 | Office | Albemarle County - 003 | Forestry, Dept of (DOF) -411 | Open area on parcel faces north and slopes away | 32.21 | Dominion | 1045824 | 0 | 41473 | 774 KW | 4.94 | 3096 | 61920 | 2073.65 | 518.4125 | 0.096
P0001117 | 73700001 | DOC St. Brides CC Chesapeake | 701 Sanderson Rd | Chesapeake | 23322-2073 | 246 | Correctional Facility | Chesapeake city - 550 | St. Brides Correctional Center (SBCC) -737 | Annual kWh includes Indian Creek Correctional in the same parcel with an aditional 85,599 sq ft of roof | 263.9 | Dominion | 11357467 | 57.6 | 138554 | 8.2 MW | 5.06 | 32800 | 656000 | 6927.7 | 1731.925 | 1.1
P0001084 | 70400001 | DBHDS Eastern State Hospital James City Co | 4601 Ironbound Rd | Williamsburg | 23188-2648 | 500.0393 | Hospital | James City County - 095 | Eastern State Hospital (ESH) -704 |  | 499.19 | Dominion | 9201500 | 16.4 | 35792 | 6.7 MW | 5.04 | 26800 | 536000 | 1789.6 | 447.4 | 0.83
P0001037 | 501A4701 | VDOT NOVA District HDQ Fairfax Co. | 4975 Alliance Dr | Fairfax | 22030 | 27.308 | Transportation | Fairfax County - 059 | Transportation, Dept of (VDOT) -501 | DGS lists address as 4726 West Ox Dr and Dominion has a low Demand for that address. | 19.25 | Dominion | 2349600 | 2.49 | 19232 | 1.75 MW | 4.9 | 7004 | 140080 | 961.6 | 240.4 | 14
P0000907 | 50163906 | VDOT No. Neck Res._Haynesville AHQ Richmond Co | 734 Barnfield Rd | Warsaw | 22572-0038 | 12.42 | Transportation | Richmond County - 159 | Transportation, Dept of (VDOT) -501 | This facility is located within the Haynesvill Correctional Parcel. Open areas included grassy areas in front of the facility. | 20.9 | Dominion | 102233 | 15 | 4308 | 90 KW | 4.88 | 360 | 7200 | 215.4 | 53.85 | 0.011
P0001162 | 77200001 | Haynesville Correctional Center | 650 Barnfield Rd | Haynesville | 22472 | 122.5 | Correctional Facility | Richmond County - 159 | Haynesville Correctional Center (HHC)-772 | The open area includes the large field behind the VDOT facility located on the same Parcel | 140.36 | Dominion | 6597296 | 18.5 | 79515 | 4.88 MW | 4.88 | 19520 | 390400 | 3975.75 | 993.9375 | 0.6
Based on 20 sq ft panel
Spreadsheet Notes
All values in this table are based on GIS analysis of aerial imagery and should be considered preliminary until site visits can be performed by qualified personnel.
*Annual kWh Demand is for the Parcel
*Open area Acres is for the Parcel
*Roof Sq Footage is for the Listed Facility only and is contingent upon roof integrity, slope, and shading analysis.
* Solar panel Raw Sq footage is based on a panel sized
at 20 sq ft, times the number of panels to meet demand.
Solar panels require spacing to avoid shading and the actual number of panels and their arrangement will have to be determined by the solar installer.